## Quality Header
|  | TYPE : | Quality Form Document (QFD)
|  | TITLE : | Analysis Template for naica® IQ/OQ Kit 3-color naica® system IQ/OQ run
|  | DOC NO. : | QFD-00344 | DATE : | 2024-07-08
|  | REVISION : | C
DOCUMENT HISTORY TABLE
Revision | Reason for change |  |  | Author | Change date
A | Creation of the document |  |  | JDO | 17 Feb 2023
B | Thresholds in Green and Red optimized |  |  | JDO | 29 Aug. 2023
C | Update template to increment PC specifications according to the IQ/OQ Batch used |  |  | JPO | 2024-07-08

## Results
ChamberName | ChamberID | SampleName | ChamberContext | PoolingID | TotalNumberOfDroplets | Blue_Channel_SampleType | Blue_Channel_ProcessedDilutionStock | Blue_Channel_Concentration | Blue_Channel_NumberOfPositiveDroplets | Blue_Channel_NumberOfNegativeDroplets | Blue_Channel_SeparabilityScore | Blue_Channel_ConcentrationStock_Min | Blue_Channel_ConcentrationStock_Max | Blue_Channel_ConcentrationStock_RelativeUncertainty | Green_Channel_SampleType | Green_Channel_ProcessedDilutionStock | Green_Channel_Concentration | Green_Channel_NumberOfPositiveDroplets | Green_Channel_NumberOfNegativeDroplets | Green_Channel_SeparabilityScore | Green_Channel_ConcentrationStock_Min | Green_Channel_ConcentrationStock_Max | Green_Channel_ConcentrationStock_RelativeUncertainty | Red_Channel_SampleType | Red_Channel_ProcessedDilutionStock | Red_Channel_Concentration | Red_Channel_NumberOfPositiveDroplets | Red_Channel_NumberOfNegativeDroplets | Red_Channel_SeparabilityScore | Red_Channel_ConcentrationStock_Min | Red_Channel_ConcentrationStock_Max | Red_Channel_ConcentrationStock_RelativeUncertainty
Note on C1: [Commentaire à thread] Votre version d’Excel vous permet de lire ce commentaire à thread. Toutefois, les modifications qui y sont apportées seront supprimées si le fichier est ouvert dans une version plus récente d’Excel. En savoir plus : https://go.microsoft.com/fwlink/?linkid=870924 Commentaire : "PC" should be written as chamber name in all samples

## Report
|  |  | TYPE : | Quality Form Document (QFD)
|  |  | TITLE : | Analysis Template for naica® IQ/OQ Kit: 3-color naica® system IQ/OQ run | [7 empty] | Purpose:
|  |  | DOC NO : | QFD-00344 |  |  | DATE : | 08 Jul. 2024
|  |  | REVISION : | C
3-color naica® system IQ/OQ run Raw Data | [5 empty] | Concentrations Raw Data |  |  | Separability Scores Raw Data
ChamberName | ChamberID | Exclude chambers? (Exclude = 0) | SampleName | TotalNumberOfDroplets | Droplet Number PASS/FAIL | Blue | Green | Red | Blue | Green | Red
0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
| Exclusion: | OK
3-color naica® system IQ/OQ run Results
Experimental Data |  | Droplet number | Concentration Average (cp/µL) |  |  | Concentration Relative Standard Deviation |  |  | Separability Score Average |  |  | Separability Score Relative Standard Deviation
Conditions | Number of Variables | Average (>12.9k) | Blue ]1610 - 2170[ | Green ]4670 - 6310[ | Red ]440 - 600[ | Blue (<8%) | Green (<9%) | Red (<8%) | Blue (>7) | Green (>11) | Red (>8) | Blue (<21%) | Green (<31%) | Red (<23%)
0 | 12 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
0 | 12 | FAIL | FAIL | WARNING | FAIL | #DIV/0! | #DIV/0! | #DIV/0! | FAIL | FAIL | FAIL | #DIV/0! | #DIV/0! | #DIV/0!
3-color naica® system IQ/OQ run Decision (Please select) | [6 empty] | Run Information |  |  | The results are obtained by performing the 3-color naica® system IQ/OQ run with the naica® IQ/OQ Kit provided by Stilla Technologies and analyzing data as instructed in the Instructions for Use.
IQ/OQ Run Date:
Operator:
Comment/Justification for chamber exclusion: | [6 empty] | naica® IQ/OQ Kit Lot:
Template DOES NOT match lot number, please use the right template
Geode Serial Number:
Prism3 Serial Number:
Sapphire Chip Lot:

## Parameters (hidden)
|  |  | TYPE : | Quality Form Document (QFD)
|  |  | TITLE : | Analysis Template for naica® IQ/OQ Kit: 3-color naica® system IQ/OQ run
|  |  | DOC NO : | QFD-00344 |  | DATE : | 08 Jul. 2024
|  |  | REVISION : | C
IQ/OQ Batch number | IQ25008
PARAMETER | UNIT | VALUE
Droplet numbers thresholds
Droplet number PASS threshold | number of droplets | 12900
Relative Standard Deviation
Separability thresholds | Unit | Min value | Check | acceptable <
BLUE | none | 7 |  | 21%
GREEN | none | 11 |  | 31%
RED | none | 8 | 9 | 23%
|  |  |  | Relative Standard Deviation |  | 15%
Concentration target value | Unit | value |  | acceptable < | min | max
BLUE | copies/µL | 1890 |  | 8% | 1610 | 2170
GREEN | copies/µL | 5490 |  | 9% | 4670 | 6310
RED | copies/µL | 520 |  | 8% | 440 | 600
Exclution of chambers
| 0 | Excluded chamber
| 1 | None excluded chamber